## Slide 1: Machine Learning in Biosciences
Instructor: Peng Qiu
Biomedical Engineering
Georgia Tech and Emory

## Slide 2: Bulk-tissue vs. Single-cell
features
features
cells
vector
matrix

## Slide 3: A few single-cell technologies
Flow cytometry and CyTOF
Millions of cells
10~50
proteins
Single-cell qPCR
96
genes
A few hundred cells
Image-based profiling
~500 morphological features
A few thousand cells
scRNAseq
~20,000
genes
A few hundred to millions cells

## Slide 4: Bulk-tissue vs. Single-cell
features
features
cells

## Slide 5: Early-term Project
Classification of AML
The goal of this project is to predict patient’s AML or normal status from patient blood samples profiled by flow cytometry.

## Slide 6: Flow cytometry
Flow: what is it?
  Evaluate cells in single-cell suspension
  Sample is prepared in liquid form
  Cells flow in a thin stream (usually saline)
  Cells pass a detector one by one.
Cytometry: what does the detector measure?
  How much of something exists inside or on the surface of a cell?
  Surface protein markers: CD19/20, CD3/4/8, …
  Proteins markers inside: pStat3/5, pAKT, …
  Size, granularity, DNA content, viability …

## Slide 7: Flow cytometry
PMT 1
PMT 2
PMT 5
PMT 4
Dichroic
Filters
Bandpass
Filters
Laser
PMT 3
Scatter
Sensor
Flow chamber
Sample
Decide what to measure:
'Kappa‘
'Lambda‘
'CD45‘
'CD19‘
'CD20'
'FSC‘
'SSC‘
'FITC‘
'PE‘
‘ECD‘
‘PC5‘
‘PC7‘
(<= 12)

## Slide 8: Limitation
Wavelength
Intensity

## Slide 9: Mass cytometry (CyTOF)
Flow chamber
Sample
Decide what to measure:
'Kappa‘
'Lambda‘
'CD45‘
'CD19‘
'CD20‘
…
…
…
DNA
Viability
La(138.906)
Nd(144.912)
Nd(145.913)
Eu(150.919)
Gd(155.922)
…
…
…
(<= 100)
Mass Spectrum
Ion Signal
Plasma
torch

## Slide 10: Flow cytometry data for one sample

## Slide 11: Flow cytometry data for one sample
Many many cells
Features

## Slide 12: Biology questions
Relationship among cells
  Identify cell types
  Infer how different cell types are related
Relationship among markers
  Identify signaling network
Relationship between cells and overall phenotype
  cellular composition of a tumor vs. survival, (drug response, …)
Relationship between markers and overall phenotype
  whether a signaling pathway is cell type specific, or disease specific?

## Slide 13: Conventional analysis of flow cytometry data
Example data
  Flow cytometry
  Mouse bone marrow
  Parameters: c-kit, Sca-1, CD11b, B220, TCR-b, CD4, CD8
Traditional analysis: Gating
(Kenny, Nolan lab)

## Slide 14: Flow cytometry data for one sample

## Slide 15: Classification of AML Project
359 subjects
  316 normal subjects
  43 AML samples
For each subject, one blood sample is taken, and split into 8 tubes.
For each tube, 7 channels are measured
  FSC, SSC
  5 protein markers
Normal/AML class labels of 179 samples are given
Task: predict the class labels of the remaining 180 samples

## Slide 16: Classification of AML Project

## Slide 17: Classification of AML Project
359 subjects
  316 normal subjects
  43 AML samples
For each subject, one blood sample is taken, and split into 8 tubes.
For each tube, 7 channels are measured
  FSC, SSC
  5 protein markers
Normal/AML class labels of 179 samples are given
Task: predict the class labels of the remaining 180 samples

## Slide 18: Data
2872 data files in total (359 subjects * 8 tubes)
http://pengqiu.gatech.edu/MLB/CSV.zip

## Slide 19: Data
2872 data files in total (359 subjects * 8 tubes)
http://pengqiu.gatech.edu/MLB/CSV.zip

## Slide 20: Data
Normal/AML class labels of 179 samples are given
http://pengqiu.gatech.edu/MLB/AMLTraining.csv.zip

## Slide 21: Data preprocessing: step 0
>> data = csvread('0001.CSV',1,0);
>> mean(data)
ans =
663.9823 0.5544 0.2052 0.2023 0.5893 0.1818 0.1620
>> std(data)
ans =
218.8498 0.0950 0.0522 0.0487 0.1073 0.0432 0.0261
>>

## Slide 22: Data preprocessing: step 0
>> data(:,1) = data(:,1)-mean(data(:,1));
>> data(:,1) = data(:,1)/std(data(:,1))*0.1;
>> mean(data)
ans =
0.0000 0.5544 0.2052 0.2023 0.5893 0.1818 0.1620
>> std(data)
ans =
0.1000 0.0950 0.0522 0.0487 0.1073 0.0432 0.0261
>>

## Slide 23: 1D and 2D visualization
>> subplot(2,2,1); hist(data(:,1))
>> subplot(2,2,2); hist(data(:,1),30)
>> subplot(2,2,3); ksdensity(data(:,1))
>> subplot(2,2,4); FlowJo_contour2D(data(:,1),data(:,2),10)

## Slide 24: More data preprocessing ???
Subject 1:
Subject 2:
… …
… …
… …

## Slide 25: Data in supervised setting
Training
data
Known labels
179 samples
Features
Testing
data
???
180 samples
Same features